{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["出厂水5月份"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"出厂水5月份","index":0,"n_rows":49,"n_cols":15,"rows_kept":49,"merged":[[0,0,0,14],[1,11,1,12]],"flags":["formulas_cached_only"]}
["丹东市自来水总公司2018年5月份出厂水水质检测数据报表"]
[{"$nulls":11},"检测日期：2018.5.14"]
["编号","检 验 项 目","单 位","限 值","鸭绿江净水场出厂水","爱河净水场  出厂水","珍珠山净水场出厂水","元宝山净水场出厂水","四道沟净水场出厂水","三湾净水场  出厂水","大林子净水场出厂水","五龙背净水场出厂水","临港净水场出厂水","六合加压站","花园加压站"]
["1","总大肠菌群","MPN/100mL或CFU/100mL","不得检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出"]
["2","耐热大肠菌群","MPN/100mL或CFU/100mL","不得检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出"]
["3","大肠埃希氏菌","MPN/100mL或CFU/100mL","不得检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出","未检出"]
["4","菌落总数","CFU/mL","  <=100","未检出","未检出","未检出","未检出","未检出","未检出","2","8","未检出","未检出","未检出"]
["5","砷","mg/L","  <=0.01","＜0.0010","＜0.0010","＜0.0010","＜0.0010","＜0.0010","＜0.0010","＜0.0010","＜0.0010","＜0.0010","＜0.0010","＜0.0010"]
["6","镉","mg/L","  <=0.005","6.5×10-5","0.4×10-5","<1.0×10-6","<1.0×10-6","4.0×10-5","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6"]
["7","铬(六价)","mg/L","  <=0.05","<0.004","<0.004","<0.004","<0.004","<0.004","<0.004","<0.004","<0.004","<0.004","<0.004","<0.004"]
["8","铅","mg/L","  <=0.01","9.0×10-5","3.8×10-5","1.3×10-5","7.0×10-5","7.7×10-5","6.2×10-5","8.5×10-5","7.3×10-5","2.3×10-5","4.3×10-5","3.3×10-5"]
["9","汞","mg/L","  <=0.001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001"]
["10","硒","mg/L","  <=0.01","＜0.0004","＜0.0004","＜0.0004","＜0.0004","＜0.0004","＜0.0004","＜0.0004","＜0.0004","＜0.0004","＜0.0004","＜0.0004"]
["11","氰化物","mg/L","  <=0.05","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002"]
["12","氟化物","mg/L","  <=1.0","0.2444","0.0254","0.0329","0.0206","0.0425","0.0543","0.0223","0.0775","0.2384","0.0325","0.0334"]
["13","硝酸盐(以N计)","mg/L","  <=10","1.681","1.587","1.787","1.731","1.889","1.876","2.034","2.169","0.827","1.661","1.615"]
["14","三氯甲烷","mg/L","  <=0.06","＜0.0002","＜0.0002","＜0.0002","＜0.0002","＜0.0002","＜0.0002","＜0.0002","＜0.0002","＜0.0002","＜0.0002","＜0.0002"]
["15","四氯化碳","mg/L","  <=0.002","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001"]
["16","溴酸盐(使用臭氧时)","mg/L","  <=0.01","--","--","--","--","--","--","--","--","--","--","--"]
["17","甲醛(使用臭氧时)","mg/L","  <=0.9","--","--","--","--","--","--","--","--","--","--","--"]
["18","亚氯酸盐(使用二氧化氯消毒时)","mg/L","  <=0.7","--","--","--","--","--","--","--","--","--","--","--"]
["19","氯酸盐(使用复合二氧化氯消毒时)","mg/L","  <=0.7","--","--","--","--","--","--","--","--","--","--","--"]
["20","色度","铂钴色度单位","  <=15","5","5","5","5","5","5","5","5","5","5","5"]
["21","浑浊度","NTU","  <=1","0.575","0.638","0.904","0.639","0.366","0.280","0.915","0.996","0.403","0.885","0.793"]
["22","臭和味",null,"无异嗅异味、用户可接受","无","无","无","无","无","无","无","无","无","无","无"]
["23","肉眼可见物",null,"不得含有","无","无","无","无","无","无","无","无","无","无","无"]
["24","pH",null,">=6.5  <=8.5","7.2","7.2","7.0","7.0","7.4","7.4","7.0","6.8","7.2","7.2","7.3"]
["25","铝","mg/L","  <=0.2","<0.008","0.008","0.008","0.008","<0.008","0.008","<0.008","0.008","<0.008","0.008","0.008"]
["26","铁","mg/L","  <=0.3","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6"]
["27","锰","mg/L","  <=0.1","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6","<1.0×10-6"]
["28","铜","mg/L","  <=1.0","0.0793","0.0923","0.0814","0.0851","0.0947","0.1073","0.1093","0.1200","0.1152","0.1255","0.1328"]
["29","锌","mg/L","  <=1.0","0.0562","0.0314","0.0434","0.0512","0.0495","0.0430","0.0527","0.0541","0.0501","0.0544","0.0559"]
["30","氯化物","mg/L","  <=250","6.158","4.517","6.855","6.114","9.216","10.830","7.342","7.286","5.939","6.181","3.980"]
["31","硫酸盐","mg/L","  <=250","21.67","18.04","25.46","22.80","30.62","34.59","18.35","29.66","27.78","23.37","19.48"]
["32","溶解性总固体","mg/L","  <=1000","214","131","116","126","153","168","146","104","165","167","127"]
["33","总硬度(以CaCO₃计)","mg/L","  <=450","67.9","68.5","76.1","73.1","83.1","100.1","87.9","86.1","74.1","79.1","73.1"]
["34","耗氧量  (CODmn法，以O₂计)","mg/L","  <=3","2.24","1.88","1.48","1.72","1.92","1.68","1.60","1.36","2.24","1.84","1.80"]
["35","挥发酚类(以笨酚计)","mg/L","  <=0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002","<0.002"]
["36","阴离子合成洗涤剂","mg/L","  <=0.3","<0.1","<0.1","<0.1","<0.1","<0.1","<0.1","<0.1","<0.1","<0.1","<0.1","<0.1"]
["37","总α放射性","Bq/L","  <=0.5","--","--","--","--","--","--","--","--","--","--","--"]
["38","总β放射性","Bq/L","  <=1","--","--","--","--","--","--","--","--","--","--","--"]
["39","氯气及游离氯制剂(游离氯)_出厂水","mg/L",">=0.3  <=4","0.45","0.4","0.6","0.6","0.35","0.5","0.3","0.3","0.4","0.3","0.5"]
["40","一氯胺(总氯)_出厂水","mg/L",">=0.5  <=3","0.6","0.65","0.85","0.85","0.5","0.75","0.45","0.55","0.65","0.55","0.65"]
["41","臭氧(O₃)_出厂水","mg/L","  <=0.3","--","--","--","--","--","--","--","--","--","--","--"]
["42","二氧化氯(ClO₂)_出厂水","mg/L",">=0.1  <=0.8","--","--","--","--","--","--","--","--","--","--","--"]
["43","硼","mg/L","  <=0.5","0.2","<0.2","0.2","0.2","0.2","0.4","<0.2","<0.2","0.4","<0.2","0.4"]
["44","二氯一溴甲烷","mg/L","  <=0.06","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001","＜0.0001"]
["45","氨氮(以N计)","mg/L","  <=0.5","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02","<0.02"]
["46","亚硝酸盐氮","mg/L","  <=1","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001","<0.001"]